## Slide 1: Logic flow discuss
AOT
Mengting Jiang

## Slide 2: Equipment
Scan-lab
Function generator: Tektronix - AFG31252
Beam_shutter KSC101 Shutter Controller: https://www.thorlabs.com/thorproduct.cfm?partnumber=SH1/M
CCD camera: Andor zyla 5.5 RollingShutter and global shutter sCMOS Camera (USB3.0) (series number:VSC-08735)
Motor stage: H117P1N4, proScanIII control https://www.prior.com/download-category/software

## Slide 3: Logic flow
Additional request:
Each equipment has the on, pause, continue, off botton

## Slide 4
Camera on, and
mover the motor stage to (0,0), scanlab ()
Start Scanlab scan
YES
Image from CCD camera
Image from CCD camera
Initialization, mover the motor stage to (0,0), scanlab (), function generator off, shutter off
Find 1?
User write scanlab scan angle (), define and step (max), , user write function generator(square wave, frequency, amplitude)
Free move motor stage (x,y) to the sample position (looking for sample)
1
0
shutter on, function generator on, shutter off, camera capture picture
continue
YES
What’s the exactly 1 or 0? Intensity?
END
1.How long the shutter keep on? User defined?
2.Capture picture before shutter off? 3. Capture picture auto or manual?